## LabourLibraryDetails
Labour_SrNo | Labour_Name | Parent_SrNo | ItemType | Unit | LCat1 | LCat2 | LCat3 | LabourRate_Basic | Tax_Scheme_Id | Specification
1 | A. PUMP ROOM | 0 | Group |  |  |  |  | 0
2 | Supplying, Installation, Testing, & Commissioning KIRLOSKAR pumps having Electrical Driven Fire Hydrant Pump : Horizontal End Suction Flow 2800 LPM @180 mtr hd (MULTISTAGE MULTI OUTLET) Pump Casing : C.I, Impeller- Bronze. Motor 2900 RPM/ 3 Ph, Pump with Gland Packing, Base Frame, Coupling, Coupling Guard , from all causes. foundation bolts, bracket, (Main Fire Hydrant Pump) ( RATE FOR PUMP, MOTOR, BASE FRAME, NECESSARY FLANGE BUT EXCLUDING PRESSURE GAUGE, SWITCH, NRV, VALVES, PIPING WHICH WILBE CHARGES SEPERATELY) MAIN HYDRANT PUMP NO 1 NO, SPRINKLER PUMP 1 NO.(LOW ZONE - 120MTR and HIGH ZONE - 180MTR) | 1 | Labour | 7_No. | 93_Fire Fighting | 114_Civil |  | 1565800 | 1_C + S GST 18% IP | Supplying, Installation, Testing, & Commissioning KIRLOSKAR pumps having Electrical Driven Fire Hydrant Pump : Horizontal End Suction Flow 2800 LPM @180 mtr hd (MULTISTAGE MULTI OUTLET) Pump Casing : C.I, Impeller- Bronze. Motor 2900 RPM/ 3 Ph, Pump with Gland Packing, Base Frame, Coupling, Coupling Guard , from all causes. foundation bolts, bracket, (Main Fire Hydrant Pump) ( RATE FOR PUMP, MOTOR, BASE FRAME, NECESSARY FLANGE BUT EXCLUDING PRESSURE GAUGE, SWITCH, NRV, VALVES, PIPING WHICH WILBE CHARGES SEPERATELY) MAIN HYDRANT PUMP NO 1 NO, SPRINKLER PUMP 1 NO.(LOW ZONE - 120MTR and HIGH ZONE - 180MTR)
3 | Horizontal Centrifugal, multistage Single outlet KIRLOSKAR pumps having cast iron body, bronze impeller, stainless steel shaft & capable of delivering 280 LPM @ 180 mtr hd (MULTISTAGE MULTI OUTLET) JOCKEY PUMP complete with Gland Packing, Base Frame, Coupling, Coupling Guard , from all causes. foundation bolts, bracket, (Main Fire Pump) ( RATE FOR PUMP, MOTOR, BASE FRAME, NECESSARY FLANGE BUT EXCLUDING PRESSURE GAUGE, SWITCH, NRV, VALVES, PIPING WHICH WILBE CHARGES SEPERATELY JOCKEY PUMP 1 NO & SPRINKLER JOCKEY PUMP 1 NO, 1 STAND BY JOCKEY (LOW ZONE - 120MTR and HIGH ZONE - 180MTR) | 1 | Labour | 7_No. | 93_Fire Fighting | 114_Civil |  | 300000 | 1_C + S GST 18% IP | Horizontal Centrifugal, multistage Single outlet KIRLOSKAR pumps having cast iron body, bronze impeller, stainless steel shaft & capable of delivering 280 LPM @ 180 mtr hd (MULTISTAGE MULTI OUTLET) JOCKEY PUMP complete with Gland Packing, Base Frame, Coupling, Coupling Guard , from all causes. foundation bolts, bracket, (Main Fire Pump) ( RATE FOR PUMP, MOTOR, BASE FRAME, NECESSARY FLANGE BUT EXCLUDING PRESSURE GAUGE, SWITCH, NRV, VALVES, PIPING WHICH WILBE CHARGES SEPERATELY JOCKEY PUMP 1 NO & SPRINKLER JOCKEY PUMP 1 NO, 1 STAND BY JOCKEY (LOW ZONE - 120MTR and HIGH ZONE - 180MTR)

## MasterDetails
Unit_List | LCat1_List | LCat2_List | LCat3_List | TaxScheme_List | ItemType
1_Cft. | 1_Excavation | 114_Civil |  | 1_C + S GST 18% IP | Group
2_Sft. | 2_RCC | 115_Finishing |  | 2_S+C GST 5%IP | Labour
3_Cum Sft. | 3_PCC | 124_SHUTTETRING |  | 3_C + S GST 0% URD
4_Day | 77_Aluminim Door | 128_PLANT AND MACHINERY |  | 4_C + S GST 28% IP
5_Job | 78_Aluminium Work | 130_Marketing |  | 5_C + S GST 12% IP
6_Cu. Mtrs | 79_Automation | 131_Advertisement |  | 6_IGST 28% IP RD
7_No. | 80_BrickWork |  |  | 7_C + SGST 5% OP Customer
8_Cum | 81_C.P.Fittings |  |  | 8_C + SGST 1% OP Customer
9_Ltr. | 82_Carpentry & Joinery |  |  | 9_C + SGST 12% OP Customer Comme
10_Bag | 83_Consultancy |  |  | 10_IGST 18% IP RD
11_Kg | 84_Door Shutter |  |  | 11_Input I GST 12%
12_Metric Ton | 85_Doors/Windows/Railing |  |  | 12_OUTPUT C+ SGST@5%
13_Box | 86_Drainage Work |  |  | 13_C + SGST 12% Input
14_Brass | 87_Electrical |  |  | 14_GST@12%
15_Slab | 88_Elevators |  |  | 15_C + SGST@18%_OUTPUT
127_RMT | 89_Entrance Lobby |  |  | 16_C + SGST 9% OP
128_Bundle | 90_External Plaster |  |  | 17_C + SGST 0% OP URD
129_Lot | 91_Extra Work |  |  | 18_IGST 18% IP
130_Meter | 92_Fabrication
131_Cuft | 93_Fire Fighting
132_SQMT | 94_Fittings
133_Ft. | 95_Hardware & Tools
134_Rft. | 96_Housekeeping
135_Lumsum | 97_Interior
136_NA | 98_Kitchen Platform
139_Ltr | 99_Lands Developers
140_PKT | 100_Landscaping
141_Ring | 101_Liasoning
142_MT | 102_Lift
143_inch | 103_M & P
144_Sq.ft | 104_M S Door Frame
145_Pair | 105_M.S. Material
146_Pcs | 106_Machinary Hiring
147_ML | 107_Machinery
156_Trip | 108_Maintenance
157_Hrs | 109_Misc.
158_NO | 110_Natural Stone
159_Month | 111_No category
160_Shift | 112_Painting
161_Rig | 113_Internal Plaster
116_POP/Gypsum
117_Services
118_W/P
119_Plumbing
120_W/P
121_Road
122_Departmental Labour
123_PLASTER
125_Waterproofing
126_Water Tank
127_Sewage Treatment Plant
129_Marketing and Advertisement